HEISCO

HSE OBSERVATION REGISTER

| Ref No: 433001/HSE-OR/01/2026 | Date: 15/09/2026 |
| --- | --- |
| CC Name: DEBOTTLENECK PRODUCTION FACILITIES ABQAIQ BI NO. 10-10303 |  |

| NO: | LOCATION | OBSERVATION | RECOMMENDATION | RESPONSIBLE ENTITY | DUE DATE | TYPE | STATUS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Substation 1 | Damaged electrical cable | Replace cable immediately | John Doe | 15/09/2026 | Minor | Open |
| 2 | Storage Yard | Missing fire extinguisher tag | Inspect and tag extinguisher | Jane Smith | 16/09/2026 | Major | Closed |
| 3 | Pump House | Uncovered trench | Install barricade and cover | Bob Wilson | 17/09/2026 | Major | Open |

| _____________________________ Observed By: Safety officer Name: Officer Mike Date: 15/09/2026 *Note: Type – Minor & Major Status – Open & Closed | _____________________________ Status By: Site Engineer Name: John Doe Date: 15/09/2026 | _____________________________ Reviewed By: Project Manager Name: AHMED GHALWASH Date: 19/09/2026 |
| --- | --- | --- |

EWI 107 Att.2 Rev.1 04 Sep. 2019

HEISCO

HSE OBSERVATION REGISTER

| Ref No: 433001/HSE-OR/02/2026 | Date: 18/09/2026 |
| --- | --- |
| CC Name: DEBOTTLENECK PRODUCTION FACILITIES ABQAIQ BI NO. 10-10303 |  |

| NO: | LOCATION | OBSERVATION | RECOMMENDATION | RESPONSIBLE ENTITY | DUE DATE | TYPE | STATUS |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4 | Gate 2 | No safety helmet | Provide PPE | Alice Brown | 18/09/2026 | Minor | Closed |

| _____________________________ Observed By: Safety officer Name: Officer Sarah Date: 18/09/2026 *Note: Type – Minor & Major Status – Open & Closed | _____________________________ Status By: Site Engineer Name: Alice Brown Date: 18/09/2026 | _____________________________ Reviewed By: Project Manager Name: AHMED GHALWASH Date: 19/09/2026 |
| --- | --- | --- |

EWI 107 Att.2 Rev.1 04 Sep. 2019