| HEISCO / GULF DREDGING | WEEKLY ACTIVITY REPORT To be submitted to CD-HSE every Thursday |
| --- | --- |

| Department: | HSE | Cost Center No. : | 43300301 |
| --- | --- | --- | --- |
|  |  | Report No. : | 36 |
| Period Starting: | 05-09-2026 | Period Ending : | 10-09-2026 |

| Significant Activities |  |
| --- | --- |
| 1. | GOSP – 05: • Formwork, rebar fixing, manual excavation, and concrete pouring/masonry activities. • Backfilling, soil compaction, and surface preparation works. • Fit-up, tack welding, pipe alignment, asset inspection, and steel structure assembly/erection. • Protruding nails were not removed or bent from dismantled wooden boxes before disposal. |
| 2. | GOSP – 03: • Installation of concrete foundations, masonry works, concrete chipping, and survey layout. • Spoil removal, asphalt cutting/removal, manual excavation, backfilling, and compaction. • Steel structure assembly, platform erection, crane setup (500-ton), material offloading, and RTR joint heating. • Rigging softeners used for sharp edge protection on steel structures were not long enough to protect the web slings from damage. |
| 3. | GOSP – 02: • Loading, unloading, material shifting, and equipment alignment/inspection. • RTR pipe jointing, masonry works, concrete chipping, backfilling, and compaction around control buildings. • Steel structure assembly and erection, including bolt tightening and torquing. • Compactor operator was working at a high speed despite hot weather conditions, increasing heat stress risk. |
| 4. | GOSP – 06: • Scaffolding erection/dismantling, formwork, steel fixing, masonry, and tile installation. • Pipe spool alignment, fit-up, welding, cutting, grinding, and RTR line water filling/testing. • Asphalt cutting/removal, manual excavation, backfilling, compaction, painting, and general housekeeping. • Supervisor not using mandatory PPE (Helmet & safety glasses) while supervising grinding work. |
| 5. | LAYDOWN: • Pipe fabrication, welding, cutting, grinding, drilling, and gas cutting activities. • Loading, unloading, material shifting, and crane pad form/rebar work. • Painting works, water/diesel refilling, and water sucking/dewatering operations. • Scaffolding material was stored at the edge of an excavation, creating a surcharge load. |
| 6. |  |

| HSE Team Allocation and Project Manpower Details: XXXX |  |  |
| --- | --- | --- |
| Sl No | Name | Area Assigned |
| 1 | BILAL SAEED MUHAMM | GOSP - 03 |
| 2 | RAKIB AJAMIN | GOSP - 02 |
| 3 | MOHAMED AARIF | GOSP - 05 |
| 4 | SHEMEER SHAMSUDE | GOSP - 06 |
| 5 | AAMIR SADDIQUE | LAYDOWN |

| HEISCO / GULF DREDGING | WEEKLY ACTIVITY REPORT To be submitted to CD-HSE every Thursday |
| --- | --- |

| Areas of concern |  |
| --- | --- |
| 1. | GOSP 5 & GOSP 6 Laydown Areas: Chemical storage areas are overloaded with excessive and expired materials. |
| 2. | Open excavations lack proper shoring, and heavy equipment is being mobilized without required inspections or driver training. |

Prepared by

| Name | : Obaid Khan |
| --- | --- |
| Classification | : HSE Manager |
| Date | : 05-09-2026 |